## Slide 1: HIGS Frozen Spin Target System (HIFROST)
Pil-Neyo Seo
University of Virginia
Triangle Universities Nuclear Laboratory (TUNL)
PSTP International Workshop, 9/10/13

## Slide 2
What is needed to execute experiments
~100 MeV
Ying Wu’s talk
17:40-18:10
Overview of the High Intensity
Gammra-ray Source at TUNL:
Capabilities and future upgrades

## Slide 3: High Intensive gamma Source (HIgS)
Free electron laser from 192 to 780 nm
Compton backscattering to produce
g-ray beam up to 100 MeV
Beam can be linearly or circularly polarized
Intracavity scattering leads to a very
intense beam (~107 g/s)
Monoenergetic beam (DE/E=0.7~4.0% with collimators)

## Slide 4
Motivation: HIFROST @ HIGS/TUNL

## Slide 5: HIgS Frozen Spin Target (HIFROST) System

## Slide 6: Conceptual Design of HIFROST
Polarization mode with 2.5 T SC magnet

## Slide 7
Data-production mode with a detector array
Conceptual Design of HIFROST

## Slide 8
HIFROST System
3He (3 roots+2 mech pump) sys
4He (2 roots + 1 mech pump) sys

## Slide 9
Gas Control System

## Slide 10
Outside gamma vault
inside gamma vault
Gas Control System-LHe transfer line

## Slide 11
HIFROST System
new mixing chamber
Horizontal dilution refrigerator
Originally designed by T. Niinikoski
Used at CERN and GKSS in Germany
Modified by Uva
Ready for HIFROST

## Slide 13: HIFROST System
Scintillating target
Developed as proton source at UMass
Butanol target
as deuteron
source is at UVa

## Slide 14
HIFROST System
AMI 2.5 T Polarizing SC magnet
0.5 T solenoid from CERN

## Slide 15: Transverse Holding Field Magnet
Designed and constructed in 2009
NbTi:Cu=1.13:1
4 layers in 136,136,122,48 turns
Measured 0.36T at 25 A
Expected 0.5T at 35 A
Seo et al.,
NIM A618,
43-47 (2010)

## Slide 16
HIFROST System
70 GHz Microwave system w/ Carcinotron
- two sets of “microwave generator + power supply”
EIO + Cober power supply
Carcinotron + power supply
(from HZG, use as a backup)

## Slide 17
HIFROST System
Liverpool Q meter
2 Deuteron box, 2 Proton box are available
Setup at HIgS is in progress

## Slide 18: GDH Sum Rule for the Deuteron
HIgS/TUNL
LEGS,JLab,Bonn
Sum of GDH for neutron
plus proton
Hosoda and Yamamoto showed that the same relation
holds for spin S=1 nuclei such as the deuteron
PRL 93 (2004) 202303

## Slide 19: GDH Sum Rule for the Deuteron
HIgS
LEGS,JLab,Bonn
Sum of GDH for neutron
plus proton
Hosoda and Yamamoto showed that the same relation
holds for spin S=1 nuclei such as the deuteron
PRL 93 (2004) 202303
8 MeV
16 MeV
12 MeV

## Slide 20: The Neutron Detector Array (Blowfish)
88 BC-505 liquid scintillators covering ¼ 4p
Active volume: 7.6 x 7.6 x 6.4cm3
Optically coupled to 12 staged PMT through a light guide
8 evenly spaced arm in f
11 evenly spaced ring in q from 22.5º to 157.5º
from Ward Wurtz’s Ph.D. Thesis (2010)

## Slide 21
from Ward Wurtz’s Ph.D. Thesis (2010)

## Slide 22
Summary
HIFROST is currently in commissioning at TUNL
Fridge is going to be cooled down within two weeks
First experiment , GDH sumrule test on deuteron
is scheduled in late October 2012