## Slide 1
1.-Introduction: The Mainz Microtron MAMI
2.-Experimental setup beam +detector: Tagger + Crystal Ball@MAMI
3.- Experimental setup target: The Frozen Spin Target
3.-Double Polarized Experiments : Precision measurements of the Nucleons Excitations, GDH sumrule Determination of Fundamental Properties
Institut
für Kernphysik
PSTP 2013
Charlottesville, September 9th 2013
Andreas Thomas
Double Polarized Measurements with Frozen Spin Target at MAMI

## Slide 2
Parameter
1604MeV, sE=0.100MeV
max. 40mA polarised
eh=9 nm rad, ev=0.5 nm rad
~6500h/year as MAMI B !

## Slide 4
Determination of the degree of polarization of
the electron beam (Moeller Polarimeter).
Circularly pol. photons.
2.
3.
Coherent production of linearly polarized
photons on a diamond radiator
Production and energy measurement of the Bremsstrahlung photons.
A2 Tagging system (Glasgow, Mainz)
1.
Glasgow Tagging Spectrometer
EPJ A 37, 129 (2008)

## Slide 5
Polarised Photons @ MAMI C
Eg = 75 ... 1480 MeV
DEg = 4 MeV
Ng = 2 . 105 s-1 MeV-1
Circular
Polarisation
Transfer
Linear
Polarisation
High Polarisation
High Photon Flux

## Slide 6
4p photon Spectrometer @ MAMI
TAPS:
366 BaF2 detectors
72 PbWO4 detectors
Max. kin. energy:
p+- : 180 MeV
K+- : 280 MeV
P : 360 MeV
Crystal Ball:
672 NaJ detectors
Max. kin. energy:
m+- : 233MeV
p+- : 240 MeV
K+- : 341 MeV
P : 425 MeV
Vertex detector:
2 Cylindr. MWPCs
480 wires, 320stripes
PID detector:
24 thin plastic detectors
gp  S11  ph
p0p0p0
gggggg

## Slide 7: Photoproduction of π0π0 and π0π+ pairs off the proton from threshold to the second resonance region EPJ A vol. 48, issue 7 (DOI 10.1140/epja/i2012-12098-1)
Significant dip in forward cross section near W= 1660 MeV
No evidence for any narrow structure
E. F. McNicoll et al., in preparation
Significant dip in forward cross section near W= 1660 MeV
No evidence for any narrow structure
E. F. McNicoll et al., in preparation
Multiple Meson Photoproduction
Data:
V.Kashevarov et al.
EPJ. A 72,141,(2009)
A.Fix, Ostrick, Tiator
EPJ. A36, 61-72, (2008)
gp  pp0h

## Slide 8
Crystal Ball (UCLA):
672 NaI scintillators
(20-160o)‏
TAPS (Giessen,Basel,Mz):
366 BaF2 crystals
72 PbWo inner det.
(1-20o )‏
Individual charged
particle vetos
PID and tracking:
Barrel of 24 plastic
scintillators (Edinburgh)‏
MWPC (Pavia)‏
Carbon analyser for
nucleon recoil polarimetry

## Slide 9
Polarised Solid Target
Polarisation = Orientation of Spins in a magnetic field
Ideally: All spins in field direction
P=100%
Complicated interplay between
Polarising force ~ magnetic field B
and
Depolarising force ~ thermal motion of spin particles
(temperature T – relaxation)

## Slide 10
Thermal equilibrium
Boltzmann distribution
Trick: Transfer of the high electron polarization to the nucleon via
m-wave irradiation (DNP)
electron
proton
Magnetic moment in magnetic field:
B=0T
B=0T
B=2.5T
B=2.5T
DE
B [Tesla] | T [mK] | e- [%] | p [%] | d [%]
2,5 | 100 | 99,8 | 0,51 | 0,10
 | 1000 | 93,3 | 0,25 | 0,05
5,0 | 100 | 100,0 | 5,09 | 1,05
 | 1000 | 99,8 | 1,28 | 0,11

## Slide 11
He3/He4 Roots
4000m3/h
Vacuum system
Mikrowaves
70GHz
Dynamic
Nuclear
Polarization
NMR-Apparatus
106MHz
Polarisation meas.
Components of the polarized target
for the Crystal Ball detector
Horizontal He3/He4 Dilutionrefrigerator
(25mKelvin)
with internal
Holding coil
Superconducting
Polarization magnet
5Tesla
Targetmaterial
H-Butanol
D-Butanol
Similar to Bonn Target
[C.Bradtke et al., NIM A436, 430 (1999)]

## Slide 12
Polarized Target for Crystal Ball
Tagged CW photon beam
4p- detector
Frozen spin target (25 mKelvin achieved).
Pproton ~ 85%
Pdeuteron~75%
All directions of polarization.
t~1000 ….2000 hours
New 3He4He-Dilution refrigerator
(in collaboration with JINR Dubna
started 2003)

## Slide 13
Cryogenics
Evaporation cooling
2 Precooling stages:
Evaporator
(1.5Kelvin)
Separator
(4.2Kelvin pot)
3He4He-Dilution refrigerator
Dilution circuit
(0.03Kelvin)

## Slide 14
300K
3K
High-temperature heat exchanger
of the 3He pre-cooling stage

## Slide 15
3He-4He-Dilution Cooling
3Helium: Spin ½, Fermion
4Helium: Spin 0, Boson
Cooling a 25%- gas-mixture
from 300K to 0.6K
Separation of both phases
Further cooling using
„dilution effect“

## Slide 16
0.7K
0.025K
Low-temperature
sintered heat exchanger

## Slide 17
Alignment thermal radiation shields
Alignment still and evaporator
Impressions from
the technical realisation

## Slide 18
Cryostat Performance
Temperature stability:
DT ~ +- 0.2mKelvin (one day)
(typical one week measurement period).
T=24mK
T=27mK
T=29mK
Dt=40h

## Slide 19
Transverse
And
Longitudinal
Internal
Holding coil
1.2 Kelvin
1Tesla at 46A
achieved
Mainz/Dubna Dilution refrigerator
Separator (4.2Kelvin)
Evaporator (1.5Kelvin)
Mixing chamber(25mK)
Still (0.7K)

## Slide 20
Internal transverse holding coil
Calculations done
with
Opera 3D
Diploma 2009.
Different layers are
used to
optimize the
homogeniety.

## Slide 21
Copper/scandium wire with 54 Nb-Ti filaments embedded in it.
Cu:Sc=1.35:1
Alloy composition: Nb47wt.%Ti
Diameter=0.222mm
It achieves currents up to 50A at 4.2K and 1T.

## Slide 22
Holding Coil
Coil has to be as thin as
possible to allow low
energetic particles
to punch through.
Subcooled Superconductor
F54-1.35(0.20)TV
jcrit
B
T
@4.2Kelvin
@1.3Kelvin

## Slide 23
150mm
4-layer dipole:
N1=N2=138
N3=N4=78

## Slide 24
Transverse (Saddle coil)
and
Longitudinal (Solenoid)
Internal
Holding Field (1.2K, 0.6T)
DNP at 200mK and 2.5T with 70GHz microwaves.
Frozen spin target (25mKelvin, 0.6T).
Secondary particles punch through holding coil.
All directions of polarization.

## Slide 25
Loading of the target material

## Slide 26
2cm
Butanol
Target material

## Slide 30
Cryostat
Polarizing
magnet
Crystal Ball
Frozen Spin Target Waltz
External magnet 2.5 T
Polarize with microwaves
Internal holding coil 0.7 T
Remove external magnet
Move CB detector in.
Data taking.
Repolarization
Polarizing
magnet
Microwaves
Microwaves

## Slide 31
Perspectives: Internal Polarising Coil
DNP at 200mK and 2.5T
with 70GHz microwaves.
10Layer coil at 50A.
Secondary particles punch
through holding coil.
Higher momentum threshold.
Problem is the required field homogeniety
of 10-E4. Notched solenoid.
3d finite element calculation, optimisation
and precise production needed.

## Slide 32
Helium Dewar adapter
Hall probe holder
4-layer coil fixed on the adapter
Test at 4.2K
Perspectives: Internal Polarising Coil

## Slide 33
Polarisation and Temperature measurement
AVS Picowatt Resistance Bridge

## Slide 34
Proton NMR Signal
Deuteron NMR Signal
P+ = +83,6%
P- = -81,5%
P+ = +75,9%
P- = -75,2%

## Slide 35
Target material D-Butanol
Density and species of the radicals
are very important for:
maximum degree of polarization
polarization build up times
relaxation times
Trityl-Radikal
Highest Deuteron polarisation due to new doping material with narrow ESR from Bochum.
[W.Meyer et al.]

## Slide 36
1.- Longitudinal PT: a) Helicity Dependence E of Meson Photoproduction b) Measurement of the G in single pion production
2.- Transverse PT: a) Transverse asymmetries T and F in h-photoproduction in the S11(1535) region
b) Spin observables in ph photoproduction in the D33(1700) region
Double Polarised Experiments
Excitation Spectrum
Fundamental Properties
1.- Long. and trans. PT: Spin Polarisabilities
2.- Transverse PT: Transverse asymmetries T and F in p-photoproduction in the threshold region  mu - md

## Slide 37
Introduction: Excitation Spectrum of the Nucleon
Quark Model (Simple Constituent quark picture)
Classification of Baryons
qqq; only uds
Oktett
Dekuplett

## Slide 38
Phys. Rev. Lett. 87, 022003 (2001)
Phys. Rev. Lett. 84, 5950 (2000)
Nucl. Phys. A642, 561 (1998)
Phys. Rev. C 53, 430 (1996); SP01
Nucl. Phys. A645, 145 (1999)
Lifetime
Unpolarised total photoabsorption cross section
What is the nature of the Nucleon Resonances?
-Excitation inner deg. of freedom
-Molecule
-Quark – Diquark Structure
-Dynamical Generation
- …….?

## Slide 39
Nature and Properties of nucleon resonances
Polarisation observables used to disentangle broad, overlapping resonances.
Beam
Target
s
p
p
p
g
g
g
g
E
G
P
P
T
P
F
H
P
d
d
P
P
P
P
z
y
x
unpol
circ
lin
lin
unpol
-
-
-
-
-
-
-
-
4
,
4
2
,
0
Target
Beam
S
÷
ø
ö
ç
è
æ
W
÷
ø
ö
ç
è
æ
-
+
÷
ø
ö
ç
è
æ

## Slide 40
Helicity Dependence E of Meson Photoproduction on the Proton and Neutron
Gerasimov-Drell-Hearn sum rule (GDH)
[S.B.Gerasimov: Sov.J.Nucl.Phys.2(1966)430]
[S.D.Drell, A.C.Hearn: Phys.Rev.Lett.16(1966)908]
Experimental test of the GDH
Sumrule
1998
-
2003
Bonn + Mainz

## Slide 41
F in p-photoproduction
preliminary
blue line: MAID-2007
green line: SAID
black line: BG2010-02l
Red Circles – new MAMI Measurement.
Analysis by V. Kashevarov ; independent analysis by P. Hall Barrientos (Edinburgh), S. Schumann (MIT).
gp  pp0
PWA in
Progress:

## Slide 42
T in p-photoproduction
preliminary
blue line: MAID-2007
green line: SAID
black line: BG2010-02l
Red Circles – new MAMI Measurement, black circles Bonn 77 and 98, green circles Tokyo 78.
Analysis by V. Kashevarov ; independent analysis by P. Hall Barrientos (Edinburgh), S. Schumann (MIT).

## Slide 43
Pion Production
Eta Production
polarisation observables and different channels essential

## Slide 44
F in h-photoproduction
preliminary
Red Circles – new MAMI Measurement.
Analysis by V. Kashevarov ; independent analysis by P. Hall Barrientos (Edinburgh), S. Schumann (MIT).
black line: h- MAID-2003
blue line: h- MAID-Regge
red line: BG2010-02l
gp  ph

## Slide 45
T in h-photoproduction
preliminary
black line: h- MAID-2003
blue line: h- MAID-Regge
green line: SAID
red line: BG2010-02l
Red Circles – new MAMI Measurement, black circles Bonn 77 and 98.
Analysis by V. Kashevarov ; independent analysis by P. Hall Barrientos (Edinburgh), S. Schumann (MIT).
gp  ph

## Slide 46
Spin observables with focus to P11(1440), S11(1535), and D33(1700) resonance regions.
Löhrig, Metsch, Petry, Eur.Phys.J. A10 (2001) 395-446
The light baryon spectrum in a relativistic quark model

## Slide 47
Asymmetries T and F in gp  pp0 at threshold
Study of the dynamic consequences of md − mu > 0.
Rescattering diagram responsible for the
unitary cusp observed in E0+(gp  pp0 )
gp  pp0
Qp=70-140
300hours
simulation
mp+=139.6 MeV
mp0 =135 MeV
Precission experiment to test the unitary calculations
[Bernstein et al. arXiv:0902.3412 [nucl-th] (Feb. 2009)
and ChPT calculations
[V.Bernard, N.Kaiser, and U.G.Meissner,
Eur. Phys. J. A11, 209 (2001)] of ImE0+.

## Slide 48
Vacuum
C4H10O – 60%
30mm
3He/4He – 6%
Dilution Factor and Low Energetic Protons

## Slide 49
Data taken in September 2010 & February 2011
Analysis: S. Schumann (MIT)
Carbon
Hydrogen
Butanol
Eg=320MeV

## Slide 50
Vacuum
3He/4He – 6%
Perspectives: Active Polarised Target
[B.van den Brand et al., PSI,
NIM A 446 (2000) 592]

## Slide 51
2 Meter

## Slide 52
Light Readout: Active Polarised Target
Material
&
Detector challenge !!!
Miskimen (UMass Amherst), Downie (GWU),
Biroth, Thomas (Mainz),
Borisov , Neganov, Usov (JINR).

## Slide 53
Polarisabilities are fundamental structure constants of the nucleon
Scalar polarisabilities (α, β) describe spin response to static EM field
Scalar polarisabilities measured in real Compton Scattering for the proton [M.Schumacher, Prog.Part. and Nucl.Phys.55, 567 (2005).] :
Polarisabilities
Real compton scattering with polarized beam and polarized target
Dispersion relation, cPT, lattice QCD..?
a,b,g1,g2,g3,g4

## Slide 54
p+
p+
p+
p+
p+
p+
p+
p+
Electric polarizability: proton between charged parallel plates
Proton electric polarizability
Pion
cloud
+ + + + + + + + + + + + +
- - - - - - - - - - - - -
[Courtesy of Rory Miskimen]

## Slide 55
d
u
u
p+
p+
p+
p+
Magnetic polarizability: proton between poles of a magnetic
Proton magnetic polarizability
Diamagnetic + Paramagnetic
pion cloud
Paramagnetic
D(1232)
N N N N N N N N N N
S S S S S S S S S S S S S

## Slide 56
Spin Vector polarizabilities describe spin response to an incident photon
Four vector pol. (γE1E1 γM1M1 γE1M2 γM1E2) appear at 3rd order in eff. Hamiltonian
Only two linear combinations of vector polarizabilities measured:
Spin Polarizabilities
The Forward S.P. g0 was determined in GDH-Experiment at ELSA and MAMI (DAPHNE) :
The Backward S.P. gp was determined from dispersive analysis of backward angle Compton scattering. [B. Pasquini et al., Proton Spin Polarizabilities from Polarized Compton Scattering (2007).]

## Slide 57
A new Frozen Spin Target produced in collaboration with JINR Dubna allows
high polarisation for p (85%) and d (75%) with Relaxationtimes>1500hours.
Data taking with Cball+TAPS detector system started 2010 at MAMI C.
All directions of polarization possible. First round transverse. Now longitudinal.
Spin observables with focus to P11(1440), S11(1535), and D33(1700) resonance regions. Complete Experiment.
Measurement of 4 Vector Spin Polarisabilities in Compton process.
Conclusions
Outlook
R&D for an internal polarising coil avoids FST waltz. FoM better.Longitudinal polarisation
R&D for polarised active szintillator target for threshold production.
Measurement of T and F in p-threshold region.
After more than 40 years polarised solid targets are still an important tool
for Spin physics.
New experimental ideas require the developement of new techniques.

## Slide 58
The target team:
+
A2-Collaboration
Thank you for your attention!

## Slide 59
Theory: Nucleon Vector Spin Polarisibilities
G. Gellas, T. Hemmert, and Ulf-G. Meißner, Phys. Rev. Lett. 85, 14 (2000).
K.B. Vijaya Kumar, J.A. McGovern, M.C. Birse, Phys. Lett. B 479, 167 (2000).
D. Djukanovic, Ph.D. Thesis, University of Mainz, 2008.
R.P. Hildebrant et al., Eur. Phys. J. A 20, 293 (2004).
D. Babusci et al., Phys. Rev. C 58, 1013 (1998).
B. Holstein, D. Drechsel, B. Pasquini, and M. Vanderhaeghen, Phys. Rev. C 61, 034316 (2000).
S. Kondratyuk and O. Scholten, Phys. Rev. C 64, 024005 (2001).
B. Pasquini, D. Drechsel, and M. Vanderhaeghen, Phys. Rev. C 76, 015203 (2007).
J. Ahrens et al., Phys. Rev. Lett. 87, 022003 (2001).
M. Schumacher, Prog. Part. Nucl. Phys. 55, 567 (2005).

## Slide 60
h-photoproduction on nuclei
Analysis for d-Butanol not done yet.
Data for h-Butanol published soon.

## Slide 61
New high precission unpolarised data published in
E. F. McNicoll et al., Phys.Rev.C82:035208,2010.
Significant dip in forward cross section
near 1680MeV.
No evidence for any narrow structure.
gp  ph

## Slide 62
Free electrons
Radicals in material by
chemical or
radiative doping
Saturated electrons of target material not polarized (Pauli principle)
Butanol
Ammonia
LiD
30mm
N
H
H
H
N
O
CH3
CH3
CH3
CH3
Tempo
Target material
Dilution factor (e.g. fButanol=10/74)
determines quality of target material

## Slide 63
Plans for h’(958) Production
New tagging device (End Point Tagger) is under construction.
Covering energy range from h' threshold to 10 MeV below E0.
Crystal Ball at MAMI C ideal for high h' rates: ~25000 h' /hour @1600MeV.
High precision on G(h2g)/G(h '  2g) gives h-h ' -mixing angle(s) + gluonium content [B. DiMicco (KLOE-collaboration), Eur. Phys. J. A38, 129 (2008).].

## Slide 64
Data:
V.Kashevarov et al.
EPJ. A 72,141,(2009)
A.Fix, Ostrick, Tiator
EPJ. A36, 61-72, (2008)
A2-09/09: Spin observables in ph photoproduction in the D33(1700) region
(600 hours parallel with A2-08/09 )
gp  pp0h

## Slide 65
Model A. Fix
D33(1700)
dominance

## Slide 66
Dominated by
single D33 resonance
analog S11 in h prod.
and P33 in p prod.
gp  pp0h
Systematic analysis of contributions from p-wave amplitudes:
- angular distributions
- polarisation observables (E,T,F)